## Assumptions - General
Aasta | Electricity consumption in Estonia, TWh | Losses in electricity transmission and distribution, TWh | Year | Price of CO2 Emission, €/t | Aasta | Coal | Natural gas in Estonia | Natural gas elsewhere | Shale oil | Oil shale | Biogas | Biomass | Wood Pellets | Fuel Oil |  | Distributed heat consumption | Losses in distribution | Local production | Total production
2010 | 7.05 | 0.93 | 2012 | 7.2 | 2012 | 3.0938 | 10.06 | 8.34 | 10.275 | 6.55 | 2.1 | 5 | 8.1 | 13.7 | 2012 | 4.4238 | 0.90608 | 0 | 5.3299
2011 | 7.14 | 0.94 | 2013 | 8.175 | 2020 | 3.3125 | 10.21 | 8.46 | 10.6521 | 6.18 | 6.5 | 5.4 | 8.4 | 14.6 | 2013 | 4.3575 | 0.8925 | 0 | 5.25
2012 | 7.23 | 0.95 | 2014 | 9.15 | 2022 | 3.35 | 10.28 | 8.52 | 10.7652 | 6.11 | 6.3 | 5.5 | 8.4 | 14.8 | 2014 | 4.2916 | 0.879 | 0 | 5.1706
2013 | 7.32 | 0.95 | 2015 | 10.125 | 2024 | 3.3875 | 10.35 | 8.58 | 10.8783 | 6.03 | 6.2 | 5.8 | 8.5 | 15 | 2015 | 4.226 | 0.86557 | 0 | 5.0916
2014 | 7.41 | 0.96 | 2016 | 11.1 | 2026 | 3.4125 | 10.42 | 8.63 | 11.0291 | 5.99 | 6 | 5.7 | 8.6 | 15.1 | 2016 | 4.1609 | 0.85222 | 0.03036 | 5.0434
2015 | 7.5 | 0.97 | 2017 | 12.075 | 2028 | 3.425 | 10.49 | 8.69 | 11.2177 | 5.99 | 5.9 | 5.9 | 8.7 | 15.3 | 2017 | 4.0961 | 0.83895 | 0.06072 | 4.9957
2016 | 7.59 | 0.98 | 2018 | 13.05 | 2030 | 3.4375 | 10.56 | 8.75 | 11.4062 | 5.99 | 5.7 | 6 | 8.7 | 15.4 | 2018 | 4.0316 | 0.82576 | 0.09108 | 4.9485
2017 | 7.68 | 0.99 | 2019 | 14.025 | 2035 | 3.4375 | 10.9 | 9.03 | 12.0661 | 6.12 | 5.9 | 6.3 | 8.9 | 15.8 | 2019 | 3.9676 | 0.81264 | 0.12144 | 4.9017
2018 | 7.77 | 0.99 | 2020 | 15 | 2040 | 3.4375 | 11.88 | 9.84 | 12.7259 | 6.28 | 6 | 6.5 | 9 | 16.1 | 2020 | 3.9039 | 0.7996 | 0.1518 | 4.8553
2019 | 7.86 | 1 | 2021 | 15.975 | 2045 | 3.4375 | 12.87 | 10.66 | 13.3858 | 6.44 | 6.1 | 6.8 | 9.2 | 16.5 | 2021 | 3.8678 | 0.7922 | 0.18216 | 4.8421
2020 | 7.95 | 1.01 | 2022 | 16.95 | 2050 | 3.4375 | 13.85 | 11.47 | 13.9137 | 6.6 | 6.2 | 7.1 | 9.4 | 16.8 | 2022 | 3.832 | 0.78487 | 0.21252 | 4.8294
2021 | 8.04 | 1.02 | 2023 | 17.925 | [10 empty] | 2023 | 3.7966 | 0.77761 | 0.24288 | 4.8171
2022 | 8.14 | 1.02 | 2024 | 18.9 | [10 empty] | 2024 | 3.7615 | 0.77043 | 0.27324 | 4.8052
2023 | 8.23 | 1.03 | 2025 | 19.875 | [10 empty] | 2025 | 3.7268 | 0.76332 | 0.3036 | 4.7937
2024 | 8.33 | 1.04 | 2026 | 20.85 | [10 empty] | 2026 | 3.6924 | 0.75628 | 0.33396 | 4.7826
2025 | 8.42 | 1.05 | 2027 | 21.825 | [10 empty] | 2027 | 3.6584 | 0.7493 | 0.36432 | 4.772
2026 | 8.51 | 1.05 | 2028 | 22.8 | [10 empty] | 2028 | 3.6247 | 0.7424 | 0.39468 | 4.7617
2027 | 8.61 | 1.06 | 2029 | 23.775 | [10 empty] | 2029 | 3.5913 | 0.73557 | 0.42504 | 4.7519
2028 | 8.7 | 1.07 | 2030 | 24.75 | [10 empty] | 2030 | 3.5583 | 0.7288 | 0.46 | 4.7471
2029 | 8.8 | 1.07 | 2031 | 25.8 | [10 empty] | 2031 | 3.5242 | 0.72183 | 0.483 | 4.7291
2030 | 8.89 | 1.08 | 2032 | 26.85 | [10 empty] | 2032 | 3.4905 | 0.71493 | 0.506 | 4.7115
2031 | 9.02 | 1.09 | 2033 | 27.9 | [10 empty] | 2033 | 3.4572 | 0.70809 | 0.529 | 4.6943
2032 | 9.15 | 1.1 | 2034 | 28.95 | [10 empty] | 2034 | 3.4241 | 0.70132 | 0.552 | 4.6774
2033 | 9.28 | 1.1 | 2035 | 30 | [10 empty] | 2035 | 3.3914 | 0.69462 | 0.575 | 4.661
2034 | 9.41 | 1.11 | 2036 | 31 | [10 empty] | 2036 | 3.3589 | 0.68797 | 0.598 | 4.6449
2035 | 9.55 | 1.12 | 2037 | 32 | [10 empty] | 2037 | 3.3268 | 0.68139 | 0.621 | 4.6292
2036 | 9.68 | 1.13 | 2038 | 33 | [10 empty] | 2038 | 3.295 | 0.67488 | 0.644 | 4.6139
2037 | 9.81 | 1.14 | 2039 | 34 | [10 empty] | 2039 | 3.2635 | 0.66842 | 0.667 | 4.5989
2038 | 9.94 | 1.14 | 2040 | 35 | [10 empty] | 2040 | 3.2323 | 0.66203 | 0.69 | 4.5843
2039 | 10.07 | 1.15 | 2041 | 36 | [10 empty] | 2041 | 3.2013 | 0.6557 | 0.713 | 4.57
2040 | 10.2 | 1.16 | 2042 | 37 | [10 empty] | 2042 | 3.1707 | 0.64942 | 0.736 | 4.5561
2041 | 10.32 | 1.17 | 2043 | 38 | [10 empty] | 2043 | 3.1404 | 0.64321 | 0.759 | 4.5426
2042 | 10.44 | 1.18 | 2044 | 39 | [10 empty] | 2044 | 3.1103 | 0.63705 | 0.782 | 4.5294
2043 | 10.56 | 1.18 | 2045 | 40 | [10 empty] | 2045 | 3.0806 | 0.63096 | 0.805 | 4.5165
2044 | 10.68 | 1.19 | 2046 | 41 | [10 empty] | 2046 | 3.0511 | 0.62492 | 0.828 | 4.504
2045 | 10.81 | 1.2 | 2047 | 42 | [10 empty] | 2047 | 3.0219 | 0.61894 | 0.851 | 4.4918
2046 | 10.93 | 1.21 | 2048 | 43 | [10 empty] | 2048 | 2.9929 | 0.61301 | 0.874 | 4.4799
2047 | 11.05 | 1.22 | 2049 | 44 | [10 empty] | 2049 | 2.9643 | 0.60714 | 0.897 | 4.4684
2048 | 11.17 | 1.22 | 2050 | 45 | [10 empty] | 2050 | 2.9359 | 0.60133 | 0.92 | 4.4572
2049 | 11.29 | 1.23
2050 | 11.41 | 1.24

## Assumptions - Scenario
Liberal
Base scenario
Liberal+
Fulfillment of N-1-1 criteria
Determined by the formula: Required generation capacity = Peak demand - 1100 MW
RE Focus
National target for Estonia set for every year to cover a percentage of electricity and heat consumption with renewable sources
Year | 2020 | 2022 | 2024 | 2026 | 2028 | 2030 | 2035 | 2040 | 2045 | 2050
Renewable energy target, % | 17.4 | 24 | 30 | 37 | 43 | 50 | 63 | 75 | 88 | 100
Oil Shale BAU
Gradual change in usage of Oil shale from electricity production to Shale Oil production
As more Shale Oil is used, more Retort gas is availabe for electricity production
Price of Oil Shale avalaiable for electricity production determined by direct cost
Year | 2020 | 2022 | 2024 | 2026 | 2028 | 2030 | 2035 | 2040 | 2045 | 2050
Oil Shale available, TJ | 84840 | 67956 | 51072 | 34188 | 17304 | 420 | 420 | 420 | 420 | 420
Retort Gas available, TJ | 22716 | 26262 | 29808 | 33354 | 36900 | 40446 | 40446 | 40446 | 40446 | 40446
RE++
Usage of fossile fuels to generate electricity is forbidden
National target set to cover a percentage of district heat generation with renewable sources
Year | 2020 | 2022 | 2024 | 2026 | 2028 | 2030 | 2035 | 2040 | 2045 | 2050
Renewable energy target, % | 17.4 | 24 | 30 | 37 | 43 | 50 | 63 | 75 | 88 | 100

## Electricity generation
TWh | SOLAR | WOOD GASIFICATION | BIOGAS | COAL | COKE | WASTE | NATURAL GAS | RETORT GAS | SHALE | HYDRO | WIND | BIOMASS
2012 | 0 | 0 | 0.048563 | 0 | 0 | 0 | 0.81044 | 0.13417 | 9.6447 | 0.03 | 0.64067 | 0.52626
2020 | 0.01452 | 0.082176 | 0.019001 | 4.3629 | 0.28809 | 0.22528 | 0.31852 | 0.51058 | 0.5327 | 0.03 | 0.80477 | 1.211
2022 | 0.020328 | 0.11505 | 0.020492 | 4.9691 | 0.28809 | 0.22481 | 0.33166 | 0.51053 | 0.079301 | 0.03 | 0.81578 | 1.2656
2024 | 0.026136 | 0.14792 | 0.020372 | 4.8391 | 0.28809 | 0.22434 | 0.32529 | 0.51049 | 0 | 0.03 | 0.82679 | 1.2612
2026 | 0.031944 | 0.18079 | 0.020424 | 4.1721 | 0.28809 | 0.22387 | 0.14613 | 0.51044 | 0 | 0.03 | 0.86015 | 1.8497
2028 | 0.037752 | 0.21366 | 0.020322 | 3.8045 | 0.28809 | 0.2234 | 0.13929 | 0.5104 | 0 | 0.03 | 0.87116 | 1.8465
2030 | 0.044 | 0.24902 | 0.020054 | 3.3283 | 0.28809 | 0.22293 | 0.12378 | 0.51035 | 0.0002064 | 0.03 | 0.53785 | 1.8333
2035 | 0.055 | 0.31127 | 0.010929 | 2.5757 | 0.28101 | 0.20321 | 0.086519 | 0.4995 | 0.0002064 | 0.03 | 0.11075 | 1.7987
2040 | 0.066 | 0.37353 | 0.010418 | 2.1031 | 0.28101 | 0.20215 | 0.0025542 | 0.49199 | 0 | 0.03 | 4.6723 | 1.6546
2045 | 0.077 | 0.43578 | 0 | 1.7592 | 0.28101 | 0.20119 | 0.30781 | 0.48034 | 0 | 0.03 | 5.0914 | 1.1609
2050 | 0.088 | 0.49804 | 0 | 1.4083 | 0.2774 | 0.20024 | 0.34303 | 0.44186 | 0 | 0.03 | 5.1122 | 0.98673

## Installed Capacity
MW | SUN | WOOD GASIFICATION | BIOGAS | COKE | WASTE | NATURAL GAS | RETORT GAS | SHALE | HYDRO | WIND | BIOMASS | COAL
2012 | 0 | 0 | 5.9 | 0 | 0 | 188.4 | 16.3 | 2033 | 4 | 258 | 72.5
2020 | 16.5 | 16.5 | 5.9 | 35 | 27.3702 | 124.8 | 62.3 | 1185 | 4 | 329.5 | 200.8592 | 660
2022 | 23.1 | 23.1 | 5.9 | 35 | 27.3702 | 124.8 | 62.3 | 1185 | 4 | 336.1 | 200.9271 | 660
2024 | 29.7 | 29.7 | 5.9 | 35 | 27.3702 | 124.8 | 62.3 | 10 | 4 | 342.7 | 200.9271 | 660
2026 | 36.3 | 36.3 | 5.9 | 35 | 27.3702 | 30.8 | 62.3 | 10 | 4 | 358.3 | 278.2353 | 660
2028 | 42.9 | 42.9 | 5.9 | 35 | 27.3702 | 30.8 | 62.3 | 10 | 4 | 364.9 | 278.2353 | 660
2030 | 50 | 50 | 5.9 | 35 | 27.3702 | 30.8 | 62.3 | 10 | 4 | 233 | 278.2353 | 660
2035 | 62.5 | 62.5 | 1.8 | 35 | 24.708 | 23.1 | 62.3 | 10 | 4 | 64.7264 | 278.7396 | 660
2040 | 75 | 75 | 1.8 | 35 | 24.5708 | 2.2 | 61 | 0 | 4 | 1637.6177 | 261.737 | 660
2045 | 87.5 | 87.5 | 0 | 35 | 24.5708 | 387.3842 | 61 | 0 | 4 | 1786.9527 | 235.0194 | 380.5115
2050 | 100 | 100 | 0 | 35 | 24.5708 | 522.495 | 61 | 0 | 4 | 1799.4527 | 211.6521 | 380.5115

## New Capacity
ESTONIA | MW | [12 empty] | BALTICS | MW
Row Labels | SteamTur-Medi-BP-WO-10 | GasTur-BP-NG-20 | SteamTur-LARGE-EXT-WO-20_29 | WasteToEnergy-BP-20 | SteamTur-Small-BP-WO-20 | Auvere-EJ-TG1-R-CO | Narva-EJ-TG11-R-CO | Narva-EJ-TG8-R-CO | GasTur-CON-NG-20 | SteamTur-LARGE-EXT-WO-30 | Wind-Onshore-30_49 | SteamTur-EXT-CO-30_49 | Grand Total | Row Labels | SteamTur-Medi-BP-WO-10 | Central-CHP-BG-20_29 | Wind-nearOffshore-20_29 | GasTur-BP-NG-20 | SolarPV-20_29 | SteamTur-LARGE-EXT-WO-20_29 | GasTurCC-EXT-BGn-20_29 | Wind-Onshore-20_29 | WasteToEnergy-BP-20 | SteamTur-Small-BP-WO-20 | Auvere-EJ-TG1-R-CO | Narva-EJ-TG11-R-CO | Narva-EJ-TG8-R-CO | GasTur-CON-NG-20 | Central-CHP-BG-30 | SteamTur-LARGE-EXT-WO-30 | Wind-nearOffshore-30_49 | SolarPV-30_49 | GasTurCC-EXT-BGn-30_49 | Wind-Onshore-30_49 | SteamTur-EXT-CO-30_49 | GasTur-BP-BGn-20 | Wind-nearOffshore-50 | SolarPV-50 | GasTurCC-EXT-BGn-50 | Wind-Onshore-50 | Wind-Offshore-50 | Grand Total
2020 | 21.8785 |  | 94.2559 | 10.3702 | 8.2248 | 274 | 192 | 194 |  |  |  |  | 794.7294 | 2020 | 349.6693 | 30.7894 | 95.2038 |  | 10 | 357.0574 | 118.931 | 200.7758 | 57.381 | 119.1887 | 274 | 192 | 194 | [14 empty] | 1998.9963
2022 |  |  | 0.067964 | [9 empty] | 0.067964 | 2022 | [5 empty] | 116.9718 |  |  | 20.2821 | 4.8567 | [17 empty] | 142.1106
2026 |  |  | 77.3082 | [9 empty] | 77.3082 | 2024 | [8 empty] | 19.764 | 2.8109 | [17 empty] | 22.5749
2035 |  |  |  | 14.3378 | 0.50432 | [5 empty] | 2.2264 |  | 17.0686 | 2026 | [5 empty] | 77.7562 |  | 1360.6347 | 19.7737 | 7.2953 | [17 empty] | 1465.46
2040 | 10.3458 |  |  | 10.2329 | 7.0416 |  |  |  |  | 17.8347 | 1560.3913 |  | 1605.8463 | 2028 | [5 empty] | 8.6241 |  | 1145.7528 | 19.7736 | 1.6361 | [17 empty] | 1175.7866
2045 |  | 331.6925 |  |  | 1.7825 |  |  |  | 55.6917 |  | 136.8351 | 106.5115 | 632.5132 | 2030 | [8 empty] | 19.77 | 1.3666 | [8 empty] | 3.8307 | 154.6729 | [7 empty] | 179.6402
2050 | 20.6838 | 10.2219 |  |  | 0.18953 |  |  |  | 124.8889 | 71.8937 |  |  | 227.8779 | 2035 | [8 empty] | 14.3378 | 7.9455 | [5 empty] | 196.1887 |  |  | 38.4878 | 2420.1092 | [7 empty] | 2677.0691
Grand Total | 52.9081 | 341.9144 | 171.632 | 34.9409 | 17.7427 | 274 | 192 | 194 | 180.5806 | 89.7285 | 1699.4527 | 106.5115 | 3355.4114 | 2040 | 10.3458 | [7 empty] | 57.2576 | 137.5398 |  |  |  |  | 31.3976 | 77.2394 | 96.9439 |  | 33.9843 | 1865.292 | [7 empty] | 2310.0003
[14 empty] | 2045 | 7.8006 |  |  | 331.6925 |  |  |  |  | 40.0959 | 2.0274 |  |  |  | 55.6917 | 0.9399 |  | 1453.9275 | 8 | 133.0679 | 260.4386 | 106.5115 | 22.5007 | [5 empty] | 2422.6941
[14 empty] | 2050 | 484.7185 |  |  | 10.2219 |  |  |  |  | 124.3107 | 1.2074 |  |  |  | 124.8889 |  | 79.1576 | [5 empty] | 5.7218 | 1349.1286 | 12 | 12.2726 | 2028.0737 | 800 | 5031.7017
[14 empty] | Grand Total | 852.5341 | 30.7894 | 95.2038 | 341.9144 | 10 | 560.4096 | 118.931 | 2707.1633 | 392.7467 | 285.8743 | 274 | 192 | 194 | 180.5806 | 32.3375 | 352.5857 | 1550.8714 | 8 | 209.3707 | 4700.5126 | 106.5115 | 28.2225 | 1349.1286 | 12 | 12.2726 | 2028.0737 | 800 | 17426.0337

## Fuel consumption
GWh | SOLAR | WOOD GASIFICATION | BIOGAS | COAL | COKE | ELECTRIC | WASTE | NATURAL GAS | RETORT GAS | SHALE | HYDRO | WIND | BIOMASS | Fuel consumption for different power plants (GWh)
2012 | 0 | 0 | 127.9534 | 0 | 0 | 0 | 0 | 2601.0256 | 555.5946 | 32666.6667 | 30 | 640.6656 | 1849.4021 | Row Labels | 2012 | 2020 | 2022 | 2024 | 2026 | 2028 | 2030 | 2035 | 2040 | 2045 | 2050
2020 | 14.52 | 284.0645 | 50.0638 | 12464.6075 | 509.8869 | 0 | 794.72 | 961.5726 | 1884.0937 | 1838.2544 | 30 | 777.2416 | 3593.6227 | SUN |  | 14.52 | 20.328 | 26.136 | 31.944 | 37.752 | 44 | 55 | 66 | 77 | 88
2022 | 20.328 | 397.6903 | 53.991 | 14193.2505 | 509.8869 | 0 | 792.9056 | 984.68 | 1883.6168 | 273.4523 | 30 | 777.2416 | 3713.0949 | SolarPV-10_19 |  | 14.52 | 20.328 | 26.136 | 31.944 | 37.752 | 44 | 55 | 66 | 77 | 88
2024 | 26.136 | 511.3161 | 53.6748 | 13785.3611 | 509.8869 | 0 | 791.0911 | 963.4892 | 1883.1337 | 0 | 30 | 777.2416 | 3693.5066 | BGwood |  | 284.0645 | 397.6903 | 511.3161 | 624.9419 | 738.5677 | 860.8015 | 1076.0019 | 1291.2022 | 1506.4026 | 1721.603
2026 | 31.944 | 624.9419 | 53.8127 | 11758.8585 | 509.8869 | 0 | 789.2767 | 343.2188 | 1882.6476 | 0 | 30 | 799.5904 | 5033.4328 | Engine-BG-Haja |  | 284.0645 | 397.6903 | 511.3161 | 624.9419 | 738.5677 | 860.8015 | 1076.0019 | 1291.2022 | 1506.4026 | 1721.603
2028 | 37.752 | 738.5677 | 53.5439 | 10667.9061 | 509.8869 | 0 | 787.4625 | 327.3714 | 1882.1718 | 0 | 30 | 799.5904 | 5013.7096 | BIOGAS | 127.9534 | 50.0638 | 53.991 | 53.6748 | 53.8127 | 53.5439 | 52.8383 | 28.796 | 27.4491
2030 | 44 | 860.8015 | 52.8383 | 9246.0721 | 509.8869 | 14.3366 | 785.6481 | 291.612 | 1881.7056 | 2.064 | 30 | 454.4256 | 4965.4148 | Central-CHP-BG-10_19 | 127.9534 | 50.0638 | 53.991 | 53.6748 | 53.8127 | 53.5439 | 52.8383 | 28.796 | 27.4491
2035 | 55 | 1076.0019 | 28.796 | 7113.2503 | 497.3568 | 20.1695 | 781.5656 | 198.5344 | 1847.9189 | 2.064 | 30 | 6.4788 | 4872.6574 | BIOGAS_net | [10 empty] | 9.5601e-20
2040 | 66 | 1291.2022 | 27.4491 | 5854.5503 | 497.3568 | 49.6745 | 777.4833 | 5.8612 | 1767.7929 | 0 | 30 | 4547.2174 | 4405.3104 | GasTurCC-EXT-BGn-50 | [10 empty] | 9.5601e-20
2045 | 77 | 1506.4026 | 0 | 4043.811 | 497.3568 | 105.4072 | 773.8092 | 720.896 | 1766.8779 | 0 | 30 | 4945.4075 | 3131.8804 | COAL |  | 12464.6075 | 14193.2505 | 13785.3611 | 11758.8585 | 10667.9061 | 9246.0721 | 7113.2503 | 5854.5503 | 4043.811 | 3202.4073
2050 | 88 | 1721.603 | 0 | 3202.4073 | 490.9795 | 126.3254 | 770.135 | 796.8618 | 1750.9228 | 0 | 30 | 4945.4075 | 2665.2737 | Auvere-EJ-TG1-R-CO |  | 5125.1537 | 5633.6294 | 5673.7168 | 5673.7168 | 5534.2899 | 5399.2659 | 4261.8794 | 3374.9326 | 2368.8739 | 1691.0484
[14 empty] | Narva-EJ-TG11-R-CO |  | 3793.0255 | 4368.0487 | 4167.6014 | 3211.1313 | 2795.3398 | 2294.4484 | 1670.361 | 1506.4321
[14 empty] | Narva-EJ-TG8-R-CO |  | 3546.4283 | 4191.5724 | 3944.0429 | 2874.0104 | 2338.2764 | 1552.3578 | 1181.0099 | 973.1857
[14 empty] | SteamTur-EXT-CO-30_49 | [9 empty] | 1674.9371 | 1511.3589
[14 empty] | SteamTur-EXT-CO-50 | [10 empty] | 2.3012e-16
[14 empty] | COKE |  | 509.8869 | 509.8869 | 509.8869 | 509.8869 | 509.8869 | 509.8869 | 497.3568 | 497.3568 | 497.3568 | 490.9795
[14 empty] | Enefit |  | 509.8869 | 509.8869 | 509.8869 | 509.8869 | 509.8869 | 509.8869 | 497.3568 | 497.3568 | 497.3568 | 490.9795
[14 empty] | MUNI_WASTE |  | 794.72 | 792.9056 | 791.0911 | 789.2767 | 787.4625 | 785.6481 | 781.5656 | 777.4833 | 773.8092 | 770.135
[14 empty] | ST-Ext-Iru-W |  | 466.4251 | 466.4251 | 466.4251 | 466.4251 | 466.4251 | 466.4251
[14 empty] | WasteToEnergy-BP-20 |  | 328.2949 | 326.4805 | 324.666 | 322.8516 | 321.0374 | 319.223 | 781.5656 | 777.4833 | 773.8092 | 770.135
[14 empty] | NAT_GAS | 2601.0256 | 961.5726 | 984.68 | 963.4892 | 343.2188 | 327.3714 | 291.612 | 198.5344 | 5.8612 | 720.896 | 796.8618
[14 empty] | Engine-NG-10_19 | 383.7182 | 241.5016 | 283.1284 | 281.9101 | 287.4166 | 272.6013 | 238.0268 | 198.5344 | 5.8612
[14 empty] | ST-BP-Iru-2-OG | 1611.3535 | 667.4069 | 644.2268 | 624.8214
[14 empty] | SteamTur-EXT-NG-10_19 | 97.9335 | 52.6641 | 57.3248 | 56.7577 | 55.8022 | 54.7701 | 53.5852
[14 empty] | ST-Ext-Iru-1-OG | 508.0204
[14 empty] | GasTur-BP-NG-20 | [9 empty] | 709.5382 | 701.252
[14 empty] | GasTur-CON-NG-20 | [9 empty] | 11.3578 | 95.6098
[14 empty] | GasTurCC-EXT-NG-50 | [10 empty] | 6.6676e-20
[14 empty] | Retort_gas | 555.5946 | 1884.0937 | 1883.6168 | 1883.1337 | 1882.6476 | 1882.1718 | 1881.7056 | 1847.9189 | 1767.7929 | 1766.8779 | 1750.9228
[14 empty] | Retort | 114.6465 | 90.9048 | 90.428 | 89.9449 | 89.4587 | 88.9829 | 88.5167 | 79.1638
[14 empty] | VKG | 440.9481 | 1793.1888 | 1793.1888 | 1793.1888 | 1793.1888 | 1793.1888 | 1793.1888 | 1768.755 | 1767.7929 | 1766.8779 | 1750.9228
[14 empty] | SHALE | 32666.6667 | 1838.2544 | 273.4523 |  |  |  | 2.064 | 2.064
[14 empty] | Narva-EJ-TG11 | 3877.2323
[14 empty] | Narva-EJ-TG8 | 3421.4193
[14 empty] | Narva-EJ-TG1 | 2440.844 | 297.1431 | 45.9154
[14 empty] | Narva-EJ-TG12 | 2472.4271
[14 empty] | Narva-EJ-TG2 | 2755.8425 | 237.7145 | 35.6572
[14 empty] | Narva-EJ-TG6 | 2203.8136 | 288.9111 | 36.9383
[14 empty] | Narva-EJ-TG3 | 2549.9286 | 233.4442 | 35.0166
[14 empty] | Narva-EJ-TG4 | 2809.2684 | 233.4442 | 35.0166
[14 empty] | Narva-EJ-TG5 | 2473.1624 | 307.8189 | 49.251
[14 empty] | Narva-EJ-TG7 | 2928.7786 | 237.7145 | 35.6572
[14 empty] | Narva-EJ-TG10 | 2240.9204
[14 empty] | Narva-EJ-TG9 | 2426.3275
[14 empty] | Sillamae_shale | 66.7019 | 2.064 |  |  |  |  | 2.064 | 2.064
[14 empty] | WATER | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
[14 empty] | Hydro-EE | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
[14 empty] | WIND | 640.6656 | 804.7702 | 815.7816 | 826.7931 | 860.1533 | 871.1648 | 537.8456 | 110.7538 | 4672.3474 | 5091.3925 | 5112.2475
[14 empty] | WI-L10 | 640.6656 | 777.2416 | 777.2416 | 777.2416 | 799.5904 | 799.5904 | 454.4256
[14 empty] | Wind-Onshore-30_49 | [7 empty] | 6.4788 | 4547.2174 | 4945.4075 | 4945.4075
[14 empty] | Wind-Onshore-10_19 |  | 27.5286 | 38.54 | 49.5515 | 60.5629 | 71.5744 | 83.42 | 104.275 | 125.13 | 145.985 | 166.84
[14 empty] | WOOD | 1849.4021 | 3593.6227 | 3713.0949 | 3693.5066 | 5033.4328 | 5013.7096 | 4965.4148 | 4872.6574 | 4405.3104 | 3131.8804 | 2665.2737
[14 empty] | ST-Ext-Parnu-1 | 496.7671 | 296.7262 | 288.2818 | 283.5411 | 277.284 | 271.8474 | 265.6574 | 255.0263 | 242.4278
[14 empty] | ST-Ext-Tartu-1 | 555.2654 | 338.584 | 352.8873 | 348.2726 | 344.2156 | 339.0963 | 323.5537 | 301.6063
[14 empty] | ST-Ext-Vao-1 | 595.593 | 357.5938 | 383.7201 | 376.1031 | 367.9112 | 364.5317 | 347.8974 | 311.9084
[14 empty] | SteamTur-Small-BP-WO-10_19 | 201.7766 | 303.6351 | 304.1047 | 304.5173 | 304.4069 | 303.7443 | 303.0174 | 301.3176 | 303.5356 | 92.7578 | 91.0812
[14 empty] | SteamTur-Medi-BP-WO-10 |  | 457.6511 | 475.1069 | 473.2731 | 464.5678 | 460.6583 | 452.6695 | 435.6111 | 530.2869 | 389.1661 | 369.783
[14 empty] | SteamTur-Small-BP-WO-20 |  | 240.5514 | 239.3546 | 238.1601 | 236.9649 | 235.7492 | 234.5371 | 241.5853 | 219.2144 | 266.2695 | 264.6538
[14 empty] | SteamTur-LARGE-EXT-WO-20_29 |  | 1598.8812 | 1669.6393 | 1669.6393 | 3038.0824 | 3038.0824 | 3038.0824 | 3025.6023 | 2807.9615 | 2122.7281 | 776.4001
[14 empty] | SteamTur-LARGE-EXT-WO-30 | [8 empty] | 301.8843 | 260.9589 | 1163.3556

## Emissions
| CO2 Emissions (kilotons) | SO2 Emissions (tons) | NOX Emissions (tons) | Row Labels | CO2 Emissions (kilotons)
2012 | 13111.0657 | 37092.6379 | 16449.2258 | 2012 | 13111.0657
Central-CHP-BG-10_19 |  |  | 248.7415 | 2020 | 5846.685
Engine-NG-10_19 | 78.4627 |  | 186.487 | 2022 | 5845.1383
Narva-EJ-TG1 | 931.4261 | 3513.4094 | 1318.0558 | 2024 | 5596.6171
Narva-EJ-TG10 | 855.1352 | 3225.6346 | 1210.097 | 2026 | 4776.3792
Narva-EJ-TG11 | 1479.5519 | 498.3019 | 558.3215 | 2028 | 4399.6941
Narva-EJ-TG12 | 943.4782 | 3558.8709 | 1335.1106 | 2030 | 3906.5654
Narva-EJ-TG2 | 1051.6295 | 3966.8259 | 1488.155 | 2035 | 3145.8739
Narva-EJ-TG3 | 973.0528 | 3670.4284 | 1376.9614 | 2040 | 2658.2851
Narva-EJ-TG4 | 1072.0168 | 4043.7283 | 1517.0049 | 2045 | 2184.5461
Narva-EJ-TG5 | 943.7588 | 3559.9293 | 1335.5077 | 2050 | 1906.134
Narva-EJ-TG6 | 840.9753 | 3172.2221 | 1190.0593
Narva-EJ-TG7 | 1117.6219 | 4215.7542 | 1581.5404
Narva-EJ-TG8 | 1305.6136 |  | 492.6844
Narva-EJ-TG9 | 925.8866 | 3492.5141 | 1310.2169
Retort | 23.4429 |  | 19.8109
Sillamae_shale | 25.4535 | 8.5725 | 9.6051
ST-BP-Iru-2-OG | 329.4896 |  | 667.1004
SteamTur-EXT-NG-10_19 | 20.0254 |  | 21.1536
SteamTur-Small-BP-WO-10_19 |  | 18.1599 | 58.838
ST-Ext-Iru-1-OG | 103.88 |  | 210.3205
ST-Ext-Parnu-1 |  | 44.709 | 71.5345
ST-Ext-Tartu-1 |  | 49.9739 | 79.9582
ST-Ext-Vao-1 |  | 53.6034 | 85.7654
VKG | 90.1651 |  | 76.1958
2020 | 5846.685 | 3540.9863 | 4794.4234
Auvere-EJ-TG1-R-CO | 1752.8025 |  | 830.2749
Central-CHP-BG-10_19 |  |  | 97.324
Enefit | 194.5728 | 65.5307 | 73.4237
Engine-BG-Haja |  |  | 38.86
Engine-NG-10_19 | 49.3822 |  | 117.3698
Narva-EJ-TG1 | 113.3898 | 427.7149 | 160.4573
Narva-EJ-TG11-R-CO | 1297.2147 | 243.7398 | 546.1957
Narva-EJ-TG2 | 90.7118 | 342.1719 | 128.3658
Narva-EJ-TG3 | 89.0823 | 336.0251 | 126.0599
Narva-EJ-TG4 | 89.0823 | 336.0251 | 126.0599
Narva-EJ-TG5 | 117.4637 | 443.0819 | 166.2222
Narva-EJ-TG6 | 110.2485 | 415.8655 | 156.012
Narva-EJ-TG7 | 90.7118 | 342.1719 | 128.3658
Narva-EJ-TG8-R-CO | 1212.8785 |  | 510.6857
Retort | 18.5882 |  | 15.7084
Sillamae_shale | 0.78762 | 0.26526 | 0.29721
ST-BP-Iru-2-OG | 136.4714 |  | 276.3065
SteamTur-EXT-NG-10_19 | 10.7687 |  | 11.3754
SteamTur-LARGE-EXT-WO-20_29 |  | 143.8993 | 397.1621
SteamTur-Medi-BP-WO-10 |  | 41.1886 | 133.4511
SteamTur-Small-BP-WO-10_19 |  | 27.3272 | 88.54
SteamTur-Small-BP-WO-20 |  | 21.6496 | 70.1448
ST-Ext-Iru-W | 62.1278 | 261.9443 | 107.4643
ST-Ext-Parnu-1 |  | 26.7054 | 42.7286
ST-Ext-Tartu-1 |  | 30.4726 | 48.7561
ST-Ext-Vao-1 |  | 32.1834 | 51.4935
WasteToEnergy-BP-20 | 43.7289 | 3.0237 | 35.4559
VKG | 366.6713 |  | 309.863
2022 | 5845.1383 | 1338.9651 | 4269.926
Auvere-EJ-TG1-R-CO | 1926.7013 |  | 912.648
Central-CHP-BG-10_19 |  |  | 104.9585
Enefit | 194.5728 | 65.5307 | 73.4237
Engine-BG-Haja |  |  | 54.404
Engine-NG-10_19 | 57.8941 |  | 137.6004
Narva-EJ-TG1 | 17.5213 | 66.0918 | 24.7943
Narva-EJ-TG11-R-CO | 1493.8727 | 280.6908 | 628.999
Narva-EJ-TG2 | 13.6068 | 51.3258 | 19.2549
Narva-EJ-TG3 | 13.3623 | 50.4038 | 18.909
Narva-EJ-TG4 | 13.3623 | 50.4038 | 18.909
Narva-EJ-TG5 | 18.7942 | 70.8931 | 26.5956
Narva-EJ-TG6 | 14.0956 | 53.1698 | 19.9467
Narva-EJ-TG7 | 13.6068 | 51.3258 | 19.2549
Narva-EJ-TG8-R-CO | 1433.5177 |  | 603.5864
Retort | 18.4907 |  | 15.626
ST-BP-Iru-2-OG | 131.7315 |  | 266.7099
SteamTur-EXT-NG-10_19 | 11.7218 |  | 12.3822
SteamTur-LARGE-EXT-WO-20_29 |  | 150.2675 | 414.7384
SteamTur-Medi-BP-WO-10 |  | 42.7596 | 138.5412
SteamTur-Small-BP-WO-10_19 |  | 27.3694 | 88.6769
SteamTur-Small-BP-WO-20 |  | 21.5419 | 69.7958
ST-Ext-Iru-W | 62.1278 | 261.9443 | 107.4643
ST-Ext-Parnu-1 |  | 25.9454 | 41.5126
ST-Ext-Tartu-1 |  | 31.7599 | 50.8158
ST-Ext-Vao-1 |  | 34.5348 | 55.2557
WasteToEnergy-BP-20 | 43.4872 | 3.007 | 35.2599
VKG | 366.6713 |  | 309.863
2024 | 5596.6171 | 930.6909 | 4066.9418
Auvere-EJ-TG1-R-CO | 1940.4111 |  | 919.1421
Central-CHP-BG-10_19 |  |  | 104.3437
Enefit | 194.5728 | 65.5307 | 73.4237
Engine-BG-Haja |  |  | 69.948
Engine-NG-10_19 | 57.645 |  | 137.0083
Narva-EJ-TG11-R-CO | 1425.3197 | 267.8101 | 600.1346
Narva-EJ-TG8-R-CO | 1348.8627 |  | 567.9422
Retort | 18.3919 |  | 15.5425
ST-BP-Iru-2-OG | 127.7635 |  | 258.6761
SteamTur-EXT-NG-10_19 | 11.6058 |  | 12.2597
SteamTur-LARGE-EXT-WO-20_29 |  | 150.2675 | 414.7384
SteamTur-Medi-BP-WO-10 |  | 42.5946 | 138.0064
SteamTur-Small-BP-WO-10_19 |  | 27.4066 | 88.7972
SteamTur-Small-BP-WO-20 |  | 21.4344 | 69.4475
ST-Ext-Iru-W | 62.1278 | 261.9443 | 107.4643
ST-Ext-Parnu-1 |  | 25.5187 | 40.8299
ST-Ext-Tartu-1 |  | 31.3445 | 50.1513
ST-Ext-Vao-1 |  | 33.8493 | 54.1589
WasteToEnergy-BP-20 | 43.2455 | 2.9903 | 35.0639
VKG | 366.6713 |  | 309.863
2026 | 4776.3792 | 989.8048 | 3868.7885
Auvere-EJ-TG1-R-CO | 1940.4111 |  | 919.1421
Central-CHP-BG-10_19 |  |  | 104.6118
Enefit | 194.5728 | 65.5307 | 73.4237
Engine-BG-Haja |  |  | 85.492
Engine-NG-10_19 | 58.7709 |  | 139.6845
Narva-EJ-TG11-R-CO | 1098.2069 | 206.3473 | 462.4029
Narva-EJ-TG8-R-CO | 982.9116 |  | 413.8575
Retort | 18.2925 |  | 15.4585
SteamTur-EXT-NG-10_19 | 11.4104 |  | 12.0533
SteamTur-LARGE-EXT-WO-20_29 |  | 273.4274 | 754.6597
SteamTur-Medi-BP-WO-10 |  | 41.8111 | 135.468
SteamTur-Small-BP-WO-10_19 |  | 27.3966 | 88.7651
SteamTur-Small-BP-WO-20 |  | 21.3268 | 69.099
ST-Ext-Iru-W | 62.1278 | 261.9443 | 107.4643
ST-Ext-Parnu-1 |  | 24.9556 | 39.9289
ST-Ext-Tartu-1 |  | 30.9794 | 49.567
ST-Ext-Vao-1 |  | 33.112 | 52.9792
WasteToEnergy-BP-20 | 43.0038 | 2.9735 | 34.868
VKG | 366.6713 |  | 309.863
2028 | 4399.6941 | 961.2942 | 3712.8074
Auvere-EJ-TG1-R-CO | 1892.7271 |  | 896.555
Central-CHP-BG-10_19 |  |  | 104.0893
Enefit | 194.5728 | 65.5307 | 73.4237
Engine-BG-Haja |  |  | 101.0361
Engine-NG-10_19 | 55.7415 |  | 132.4842
Narva-EJ-TG11-R-CO | 956.0062 | 179.6285 | 402.5289
Narva-EJ-TG8-R-CO | 799.6905 |  | 336.7118
Retort | 18.1952 |  | 15.3763
SteamTur-EXT-NG-10_19 | 11.1994 |  | 11.8303
SteamTur-LARGE-EXT-WO-20_29 |  | 273.4274 | 754.6597
SteamTur-Medi-BP-WO-10 |  | 41.4592 | 134.328
SteamTur-Small-BP-WO-10_19 |  | 27.337 | 88.5718
SteamTur-Small-BP-WO-20 |  | 21.2174 | 68.7445
ST-Ext-Iru-W | 62.1278 | 261.9443 | 107.4643
ST-Ext-Parnu-1 |  | 24.4663 | 39.146
ST-Ext-Tartu-1 |  | 30.5187 | 48.8299
ST-Ext-Vao-1 |  | 32.8079 | 52.4926
WasteToEnergy-BP-20 | 42.7622 | 2.9568 | 34.672
VKG | 366.6713 |  | 309.863
2030 | 3906.5654 | 925.009 | 3495.5246
Auvere-EJ-TG1-R-CO | 1846.5489 |  | 874.6811
Central-CHP-BG-10_19 |  |  | 102.7177
Enefit | 194.5728 | 65.5307 | 73.4237
Engine-BG-Haja |  |  | 117.7576
Engine-NG-10_19 | 48.6717 |  | 115.681
Narva-EJ-TG11-R-CO | 784.7014 | 147.4413 | 330.4006
Narva-EJ-TG8-R-CO | 530.9064 |  | 223.5395
Retort | 18.0999 |  | 15.2957
Sillamae_shale | 0.78762 | 0.26526 | 0.29721
SteamTur-EXT-NG-10_19 | 10.9571 |  | 11.5744
SteamTur-LARGE-EXT-WO-20_29 |  | 273.4274 | 754.6597
SteamTur-Medi-BP-WO-10 |  | 40.7403 | 131.9984
SteamTur-Small-BP-WO-10_19 |  | 27.2716 | 88.3599
SteamTur-Small-BP-WO-20 |  | 21.1083 | 68.391
ST-Ext-Iru-W | 62.1278 | 261.9443 | 107.4643
ST-Ext-Parnu-1 |  | 23.9092 | 38.2547
ST-Ext-Tartu-1 |  | 29.1198 | 46.5917
ST-Ext-Vao-1 |  | 31.3108 | 50.0972
WasteToEnergy-BP-20 | 42.5205 | 2.9401 | 34.4761
VKG | 366.6713 |  | 309.863
2035 | 3145.8739 | 617.2605 | 3038.2964
Auvere-EJ-TG1-R-CO | 1457.5627 |  | 690.4245
Central-CHP-BG-10_19 |  |  | 55.9795
Enefit | 189.7914 | 63.9203 | 71.6194
Engine-BG-Haja |  |  | 147.1971
Engine-NG-10_19 | 40.5963 |  | 96.4877
Narva-EJ-TG11-R-CO | 571.2634 | 107.3374 | 240.532
Narva-EJ-TG8-R-CO | 403.9054 |  | 170.0654
Retort | 16.1874 |  | 13.6795
Sillamae_shale | 0.78762 | 0.26526 | 0.29721
SteamTur-LARGE-EXT-WO-20_29 |  | 272.3042 | 751.5596
SteamTur-Medi-BP-WO-10 |  | 39.205 | 127.0242
SteamTur-Small-BP-WO-10_19 |  | 27.1186 | 87.8642
SteamTur-Small-BP-WO-20 |  | 21.7427 | 70.4463
ST-Ext-Parnu-1 |  | 22.9524 | 36.7238
ST-Ext-Tartu-1 |  | 27.1446 | 43.4313
ST-Ext-Vao-1 |  | 28.0718 | 44.9148
WasteToEnergy-BP-20 | 104.1045 | 7.1984 | 84.4091
VKG | 361.675 |  | 305.6409
2040 | 2658.2851 | 564.3624 | 2712.1731
Auvere-EJ-TG1-R-CO | 1154.2269 |  | 546.7391
Central-CHP-BG-10_19 |  |  | 53.361
Enefit | 189.7914 | 63.9203 | 71.6194
Engine-BG-Haja |  |  | 176.6365
Engine-NG-10_19 | 1.1985 |  | 2.8485
Narva-EJ-TG11-R-CO | 515.1998 | 96.8033 | 216.9262
Narva-EJ-TG8-R-CO | 332.8295 |  | 140.1387
SteamTur-LARGE-EXT-WO-20_29 |  | 252.7165 | 697.4976
SteamTur-LARGE-EXT-WO-30 |  | 27.1696 | 74.9881
SteamTur-Medi-BP-WO-10 |  | 47.7258 | 154.6317
SteamTur-Small-BP-WO-10_19 |  | 27.3182 | 88.511
SteamTur-Small-BP-WO-20 |  | 19.7293 | 63.9229
ST-Ext-Parnu-1 |  | 21.8185 | 34.9096
WasteToEnergy-BP-20 | 103.5608 | 7.1608 | 83.9682
VKG | 361.4783 |  | 305.4746
2045 | 2184.5461 | 482.0743 | 2191.6166
Auvere-EJ-TG1-R-CO | 810.1549 |  | 383.7576
Enefit | 189.7914 | 63.9203 | 71.6194
Engine-BG-Haja |  |  | 206.0759
GasTur-BP-NG-20 | 145.0864 |  | 117.4995
GasTur-CON-NG-20 | 2.3224 |  | 2.4533
SteamTur-EXT-CO-30_49 | 572.8285 | 129.1578 | 211.0421
SteamTur-LARGE-EXT-WO-20_29 |  | 191.0455 | 527.2857
SteamTur-LARGE-EXT-WO-30 |  | 23.4863 | 64.8222
SteamTur-Medi-BP-WO-10 |  | 35.0249 | 113.4808
SteamTur-Small-BP-WO-10_19 |  | 8.3482 | 27.0482
SteamTur-Small-BP-WO-20 |  | 23.9643 | 77.6442
WasteToEnergy-BP-20 | 103.0714 | 7.127 | 83.5714
VKG | 361.2912 |  | 305.3165
2050 | 1906.134 | 426.6123 | 1986.5068
Auvere-EJ-TG1-R-CO | 578.3386 |  | 273.9498
Enefit | 187.3578 | 63.1007 | 70.701
Engine-BG-Haja |  |  | 235.5153
GasTur-BP-NG-20 | 143.392 |  | 116.1273
GasTur-CON-NG-20 | 19.5503 |  | 20.6517
SteamTur-EXT-CO-30_49 | 516.8847 | 116.5439 | 190.4312
SteamTur-LARGE-EXT-WO-20_29 |  | 69.876 | 192.8578
SteamTur-LARGE-EXT-WO-30 |  | 104.702 | 288.9775
SteamTur-Medi-BP-WO-10 |  | 33.2805 | 107.8287
SteamTur-Small-BP-WO-10_19 |  | 8.1973 | 26.5593
SteamTur-Small-BP-WO-20 |  | 23.8188 | 77.1731
WasteToEnergy-BP-20 | 102.582 | 7.0931 | 83.1746
VKG | 358.0287 |  | 302.5595

## Electricity Price
€/MWh | 2012 | 2020 | 2022 | 2024 | 2026 | 2028 | 2030 | 2035 | 2040 | 2045 | 2050
ESTONIA | 84.579 | 72.9629 | 69.5427 | 70.3473 | 71.4504 | 72.4963 | 71.0664 | 87.1798 | 90.0845 | 89.7153 | 75.5172
LATVIA | 84.782 | 72.9977 | 69.565 | 70.355 | 71.4938 | 72.6754 | 71.2322 | 87.4627 | 91.224 | 91.5425 | 75.3899
LITHUANIA | 85.8631 | 72.9606 | 69.5338 | 70.3087 | 71.4838 | 72.6695 | 71.2273 | 87.472 | 91.2079 | 90.793 | 76.8291
FINLAND | 60.4938 | 72.3397 | 69.4721 | 70.0971 | 69.5055 | 70.001 | 67.6713 | 68.9069 | 80.7802 | 80.2221 | 68.734
POLAND | 41.3298 | 101.3564 | 69.0014 | 68.6831 | 96.6764 | 96.9199 | 73.2179 | 93.5163 | 95.4608 | 98.9124 | 84.0629
SWEDEN | 62.194 | 83.5069 | 69.5428 | 70.0992 | 69.9388 | 71.1129 | 69.3025 | 85.1209 | 86.9709 | 85.8827 | 74.604

## Heat generation from CHP
GWh | 2012 | 2020 | 2022 | 2024 | 2026 | 2028 | 2030 | 2035 | 2040 | 2045 | 2050 | GWh | COAL | WASTE | NATURAL GAS | BIOMASS | BIOGAS | SHALE | RETORT GAS | WOOD GASIFICATION
COAL |  | 481.6213 | 474.4869 | 465.4199 | 456.353 | 447.2723 | 436.5722 | 296.8127 | 283.3322 | 356.0891 | 332.2823 | 2012 | 0 | 0 | 1556.5002 | 1197.3883 | 58.278 | 539.6618 | 21.4007 | 0
EE_R_narva |  | 481.6213 | 474.4869 | 465.4199 | 456.353 | 447.2723 | 436.5722 | 296.8127 | 283.3322 | 223.4501 | 212.9697 | 2020 | 481.6213 | 512.944 | 565.7046 | 1960.9351 | 22.8022 | 0 | 16.9689 | 152.1774
Narva-EJ-TG11-R-CO |  | 481.6213 | 474.4869 | 465.4199 | 456.353 | 447.2723 | 436.5722 | 296.8127 | 283.3322 |  |  | 2022 | 474.4869 | 511.6557 | 573.8759 | 1943.3818 | 24.5909 | 0 | 16.8799 | 213.0484
SteamTur-EXT-CO-30_49 | [9 empty] | 223.4501 | 212.9697 | 2024 | 465.4199 | 510.3675 | 560.749 | 1922.7952 | 24.4469 | 0 | 16.7897 | 273.9193
EE_R_Parnu | [9 empty] | 132.6391 | 119.3125 | 2026 | 456.353 | 509.0792 | 168.9954 | 2167.2842 | 24.5097 | 0 | 16.699 | 334.7903
SteamTur-EXT-CO-30_49 | [9 empty] | 132.6391 | 119.3125 | 2028 | 447.2723 | 507.7911 | 161.2701 | 2138.0773 | 24.3872 | 0 | 16.6101 | 395.6613
MUNI_WASTE |  | 512.944 | 511.6557 | 510.3675 | 509.0792 | 507.7911 | 506.5029 | 554.9104 | 552.012 | 549.4034 | 546.7947 | 2030 | 436.5722 | 506.5029 | 143.8955 | 2101.0631 | 24.0659 | 0 | 16.5231 | 461.1437
EE_R_narva | [7 empty] | 112.2082 | 112.3947 | 109.84 | 107.2969 | 2035 | 296.8127 | 554.9104 | 96.1325 | 2084.0503 | 13.1155 | 0 | 30.4831 | 576.4296
WasteToEnergy-BP-20 | [7 empty] | 112.2082 | 112.3947 | 109.84 | 107.2969 | 2040 | 283.3322 | 552.012 | 2.838 | 1947.784 | 12.502 | 0 | 14.9361 | 691.7155
EE_R_Tallinn |  | 387.8248 | 387.1795 | 386.09 | 384.9037 | 384.6388 | 383.0308 | 317.5831 | 334.9255 | 334.9255 | 334.8059 | 2045 | 356.0891 | 549.4034 | 282.7869 | 1589.9656 | 0 | 0 | 71.9118 | 807.0014
ST-Ext-Iru-W |  | 279.855 | 279.855 | 279.855 | 279.855 | 279.855 | 279.855 |  |  |  |  | 2050 | 332.2823 | 546.7947 | 279.4845 | 1435.321 | 0 | 0 | 241.9843 | 922.2873
WasteToEnergy-BP-20 |  | 107.9698 | 107.3244 | 106.2349 | 105.0486 | 104.7837 | 103.1758 | 317.5831 | 334.9255 | 334.9255 | 334.8059
EE_R_Tartu |  | 125.1191 | 124.4762 | 124.2775 | 124.1755 | 123.1524 | 123.4721 | 125.1191 | 104.6919 | 104.6378 | 104.6919
WasteToEnergy-BP-20 |  | 125.1191 | 124.4762 | 124.2775 | 124.1755 | 123.1524 | 123.4721 | 125.1191 | 104.6919 | 104.6378 | 104.6919
NAT_GAS | 1556.5002 | 565.7046 | 573.8759 | 560.749 | 168.9954 | 161.2701 | 143.8955 | 96.1325 | 2.838 | 282.7869 | 279.4845
EE_R_Haabneeme | [9 empty] | 3.8126 | 2.799
GasTur-BP-NG-20 | [9 empty] | 3.8126 | 2.799
EE_R_Haapsalu | [9 empty] | 6.7479 | 5.3423
GasTur-BP-NG-20 | [9 empty] | 6.7479 | 5.3423
EE_R_Industry | 138.5082 | 100.1546 | 120.7496 | 120.9752 | 123.4476 | 117.2175 | 102.662 | 86.971
Engine-NG-10_19 | 138.5082 | 100.1546 | 120.7496 | 120.9752 | 123.4476 | 117.2175 | 102.662 | 86.971
EE_R_Jogeva | [9 empty] | 4.2309 | 3.106
GasTur-BP-NG-20 | [9 empty] | 4.2309 | 3.106
EE_R_Keila | [9 empty] | 8.0821 | 6.0588
GasTur-BP-NG-20 | [9 empty] | 8.0821 | 6.0588
EE_R_Kuressaare | [9 empty] | 8.3442 | 6.5395
GasTur-BP-NG-20 | [9 empty] | 8.3442 | 6.5395
EE_R_narva | [9 empty] | 31.5725 | 20.014
GasTur-BP-NG-20 | [9 empty] | 31.5725 | 20.014
EE_R_Paide | [9 empty] | 6.8433 | 5.8524
GasTur-BP-NG-20 | [9 empty] | 6.8433 | 5.8524
EE_R_Parnu | [9 empty] | 12.187 | 19.8744
GasTur-BP-NG-20 | [9 empty] | 12.187 | 19.8744
EE_R_Polva | 7.7329 | 4.0573 | 4.6209 | 4.5784 | 4.5366 | 4.4947 | 4.4479 | 3.3047 |  | 4.6273 | 3.2699
Engine-NG-10_19 | 7.7329 | 4.0573 | 4.6209 | 4.5784 | 4.5366 | 4.4947 | 4.4479 | 3.3047
GasTur-BP-NG-20 | [9 empty] | 4.6273 | 3.2699
EE_R_Rakvere | [9 empty] | 7.7188 | 5.6667
GasTur-BP-NG-20 | [9 empty] | 7.7188 | 5.6667
EE_R_Rapla | [9 empty] | 3.8398 | 2.9485
GasTur-BP-NG-20 | [9 empty] | 3.8398 | 2.9485
EE_R_Rural | 3.904 | 0.30227 | 0.29955 | 0.26773 | 0.21147 | 0.19226 | 0.073548 | 0.56324 |  | 2.4324 | 3.2019
Engine-NG-10_19 | 3.904 | 0.30227 | 0.29955 | 0.26773 | 0.21147 | 0.19226 | 0.073548 | 0.56324
GasTur-BP-NG-20 | [9 empty] | 2.4324 | 3.2019
EE_R_Sillamae | 52.122 | 28.0104 | 30.6391 | 30.336 | 29.8253 | 29.2737 | 28.6404 |  |  | 27.3095 | 21.0384
GasTur-BP-NG-20 | [9 empty] | 27.3095 | 21.0384
SteamTur-EXT-NG-10_19 | 52.122 | 28.0104 | 30.6391 | 30.336 | 29.8253 | 29.2737 | 28.6404
EE_R_Tallinn | 1339.9072 | 425.4841 | 410.499 | 398.2652 | 3.3432 | 3.3432 | 2.6208 | 1.04 |  | 89.7561 | 111.2292
Engine-NG-10_19 | 21.3294 | 4.7276 | 4.356 | 4.356 | 3.3432 | 3.3432 | 2.6208 | 1.04
GasTur-BP-NG-20 | [9 empty] | 89.7561 | 111.2292
ST-BP-Iru-2-OG | 1015.8533 | 420.7565 | 406.143 | 393.9092
ST-Ext-Iru-1-OG | 302.7245
EE_R_Tartu | [9 empty] | 40.1199 | 43.4945
GasTur-BP-NG-20 | [9 empty] | 40.1199 | 43.4945
EE_R_Viljandi | 13.111 | 7.1556 | 6.556 | 5.9345 | 7.0484 | 6.2365 | 5.121 | 3.9751 | 2.6706 | 14.5325 | 11.0213
Engine-NG-10_19 | 13.111 | 7.1556 | 6.556 | 5.9345 | 7.0484 | 6.2365 | 5.121 | 3.9751 | 2.6706
GasTur-BP-NG-20 | [9 empty] | 14.5325 | 11.0213
EE_R_Vohma | 1.2148 | 0.54024 | 0.51163 | 0.39201 | 0.58283 | 0.51216 | 0.32991 | 0.27844 | 0.16747 | 0.99106 | 0.71777
Engine-NG-10_19 | 1.2148 | 0.54024 | 0.51163 | 0.39201 | 0.58283 | 0.51216 | 0.32991 | 0.27844 | 0.16747
GasTur-BP-NG-20 | [9 empty] | 0.99106 | 0.71777
EE_R_Voru | [9 empty] | 9.6391 | 7.3102
GasTur-BP-NG-20 | [9 empty] | 9.6391 | 7.3102
WOOD | 1197.3883 | 1960.9351 | 1943.3818 | 1922.7952 | 2167.2842 | 2138.0773 | 2101.0631 | 2084.0503 | 1947.784 | 1589.9656 | 1435.321
EE_R_Haabneeme |  | 9.6759 | 9.6235 | 9.572 | 9.5217 | 9.4705 | 9.4186 | 9.2933 | 8.3298 | 8.3464 | 8.0915
SteamTur-Small-BP-WO-20 |  | 9.6759 | 9.6235 | 9.572 | 9.5217 | 9.4705 | 9.4186 | 9.2933 | 8.3298 | 8.3464 | 8.0915
EE_R_Haapsalu |  | 14.9867 | 14.9466 | 14.9022 | 14.8513 | 14.8004 | 14.7476 | 14.6156 | 17.2237 | 17.0309 | 16.6851
SteamTur-Small-BP-WO-20 |  | 14.9867 | 14.9466 | 14.9022 | 14.8513 | 14.8004 | 14.7476 | 14.6156 | 17.2237 | 17.0309 | 16.6851
EE_R_Industry | 159.8691 | 162.7941 | 163.6684 | 164.492 | 164.9252 | 164.9313 | 164.9323 | 165.0979 | 168.2904
SteamTur-Small-BP-WO-10_19 | 159.8691 | 162.7941 | 163.6684 | 164.492 | 164.9252 | 164.9313 | 164.9323 | 165.0979 | 168.2904
EE_R_Jogeva |  | 10.7375 | 10.6793 | 10.6222 | 10.5663 | 10.5094 | 10.4517 | 10.3128 | 9.2434 | 9.2619 | 8.979
SteamTur-Small-BP-WO-20 |  | 10.7375 | 10.6793 | 10.6222 | 10.5663 | 10.5094 | 10.4517 | 10.3128 | 9.2434 | 9.2619 | 8.979
EE_R_Keila |  | 12.3793 | 12.3462 | 12.3095 | 12.2675 | 12.2254 | 12.1817 | 12.0727 | 11.8184 | 15.5529 | 14.9582
SteamTur-Small-BP-WO-20 |  | 12.3793 | 12.3462 | 12.3095 | 12.2675 | 12.2254 | 12.1817 | 12.0727 | 11.8184 | 15.5529 | 14.9582
EE_R_Kuressaare |  | 44.5264 | 44.2399 | 43.9575 | 43.647 | 43.3287 | 42.9885 | 42.1071 | 41.1976 | 42.1671 | 41.2594
SteamTur-Small-BP-WO-10_19 |  | 44.5264 | 44.2399 | 43.9575 | 43.647 | 43.3287 | 42.9885 | 42.1071 | 41.1976 | 42.1671 | 41.2594
EE_R_Paide |  | 33.2519 | 33.0362 | 32.8218 | 32.6118 | 32.399 | 32.1622 | 31.5312 | 31.0056 | 31.3256 | 30.9049
SteamTur-Small-BP-WO-10_19 |  | 33.2519 | 33.0362 | 32.8218 | 32.6118 | 32.399 | 32.1622 | 31.5312 | 31.0056 | 31.3256 | 30.9049
EE_R_Parnu | 312.817 | 186.8502 | 181.5327 | 178.5475 | 174.6073 | 171.1839 | 167.286 | 160.5915 | 152.6581
ST-Ext-Parnu-1 | 312.817 | 186.8502 | 181.5327 | 178.5475 | 174.6073 | 171.1839 | 167.286 | 160.5915 | 152.6581
EE_R_Polva |  | 13.2217 | 13.15 | 13.0798 | 13.0109 | 12.9408 | 12.8699 | 12.6988 | 10.7323 | 10.5877 | 10.534
SteamTur-Small-BP-WO-20 |  | 13.2217 | 13.15 | 13.0798 | 13.0109 | 12.9408 | 12.8699 | 12.6988 | 10.7323 | 10.5877 | 10.534
EE_R_Rakvere |  | 19.5902 | 19.4839 | 19.3799 | 19.2779 | 19.1741 | 19.0689 | 18.8154 | 16.8643 | 16.8979 | 16.3818
SteamTur-Small-BP-WO-20 |  | 19.5902 | 19.4839 | 19.3799 | 19.2779 | 19.1741 | 19.0689 | 18.8154 | 16.8643 | 16.8979 | 16.3818
EE_R_Rapla |  | 10.193 | 10.1378 | 10.0836 | 10.0305 | 9.9765 | 9.9218 | 9.7898 | 8.7747 | 8.7922 | 8.5236
SteamTur-Small-BP-WO-20 |  | 10.193 | 10.1378 | 10.0836 | 10.0305 | 9.9765 | 9.9218 | 9.7898 | 8.7747 | 8.7922 | 8.5236
EE_R_Rural | [9 empty] | 0.92008 | 5.7861
SteamTur-Small-BP-WO-20 | [9 empty] | 0.92008 | 5.7861
EE_R_Sillamae |  | 91.516 | 90.9874 | 90.4693 | 89.9556 | 89.4313 | 88.9175 | 95.5871 | 74.8515 | 73.8274 | 71.9001
SteamTur-Small-BP-WO-20 |  | 91.516 | 90.9874 | 90.4693 | 89.9556 | 89.4313 | 88.9175 | 95.5871 | 74.8515 | 73.8274 | 71.9001
EE_R_Tallinn | 375.0483 | 1029.6031 | 1021.6159 | 1010.3294 | 1266.2384 | 1247.9325 | 1223.441 | 1223.1103 | 1118.1021 | 1066.1891 | 929.7159
SteamTur-LARGE-EXT-WO-20_29 |  | 470.9249 | 434.2422 | 429.4561 | 696.6866 | 683.3968 | 676.0339 | 709.6824 | 789.4314 | 815.6062 | 386.3845
SteamTur-LARGE-EXT-WO-30 | [8 empty] | 22.7469 | 29.5715 | 329.0289
SteamTur-Medi-BP-WO-10 |  | 333.4994 | 345.743 | 344.039 | 337.8761 | 334.9881 | 328.3341 | 317.0174 | 305.9238 | 221.0114 | 214.3025
ST-Ext-Vao-1 | 375.0483 | 225.1788 | 241.6307 | 236.8343 | 231.6758 | 229.5477 | 219.073 | 196.4105
EE_R_Tartu | 349.6538 | 313.3187 | 309.6461 | 303.9509 | 297.5054 | 291.516 | 284.4276 | 270.2023 | 262.8449 | 239.3164 | 223.7534
SteamTur-LARGE-EXT-WO-20_29 |  | 81.2125 | 67.3355 | 64.2542 | 60.9036 | 58.2603 | 60.4567 | 61.8702 | 82.6276 | 81.6087
SteamTur-LARGE-EXT-WO-30 | [8 empty] | 77.8133 | 79.0562 | 153.3182
SteamTur-Medi-BP-WO-10 |  | 18.898 | 20.0955 | 20.3874 | 19.8473 | 19.7248 | 20.2273 | 18.4088 | 102.404 | 78.6515 | 70.4353
ST-Ext-Tartu-1 | 349.6538 | 213.2083 | 222.2151 | 219.3092 | 216.7545 | 213.5309 | 203.7436 | 189.9232
EE_R_Viljandi |  | 8.2903 | 8.2878 | 8.2775 | 8.2674 | 8.2575 | 8.2478 | 8.2244 | 15.8473 | 28.7838 | 27.6833
SteamTur-Small-BP-WO-20 |  | 8.2903 | 8.2878 | 8.2775 | 8.2674 | 8.2575 | 8.2478 | 8.2244 | 15.8473 | 28.7838 | 27.6833
EE_R_Vohma | [9 empty] | 1.8746 | 1.8029
SteamTur-Small-BP-WO-20 | [9 empty] | 1.8746 | 1.8029
EE_R_Voru | [9 empty] | 19.0917 | 18.3616
SteamTur-Small-BP-WO-20 | [9 empty] | 19.0917 | 18.3616
BIOGAS | 58.278 | 22.8022 | 24.5909 | 24.4469 | 24.5097 | 24.3872 | 24.0659 | 13.1155 | 12.502
EE_R_Industry | 0.98776 | 0.83556 | 0.8524 | 0.88601 | 0.96426 | 0.96426 | 0.96426
Central-CHP-BG-10_19 | 0.98776 | 0.83556 | 0.8524 | 0.88601 | 0.96426 | 0.96426 | 0.96426
EE_R_Parnu | 0.98776 | 0.1616 | 0.10007 | 0.16368 | 0.3192 | 0.38472 | 0.70277
Central-CHP-BG-10_19 | 0.98776 | 0.1616 | 0.10007 | 0.16368 | 0.3192 | 0.38472 | 0.70277
EE_R_Rural | 56.3025 | 21.805 | 23.6384 | 23.3972 | 23.2262 | 23.0383 | 22.3989 | 13.1155 | 12.502
Central-CHP-BG-10_19 | 56.3025 | 21.805 | 23.6384 | 23.3972 | 23.2262 | 23.0383 | 22.3989 | 13.1155 | 12.502
SHALE | 539.6618
EE_R_narva | 521.6342
Narva-EJ-TG11 | 521.6342
EE_R_Sillamae | 18.0275
Sillamae_shale | 18.0275
Retort_gas | 21.4007 | 16.9689 | 16.8799 | 16.7897 | 16.699 | 16.6101 | 16.5231 | 30.4831 | 14.9361 | 71.9118 | 241.9843
EE_R_Kivioli | 21.4007 | 16.9689 | 16.8799 | 16.7897 | 16.699 | 16.6101 | 16.5231 | 14.7773
Retort | 21.4007 | 16.9689 | 16.8799 | 16.7897 | 16.699 | 16.6101 | 16.5231 | 14.7773
EE_R_Kohtla_Jarve | [7 empty] | 15.7059 | 14.9361 | 71.9118 | 241.9843
VKG | [7 empty] | 15.7059 | 14.9361 | 71.9118 | 241.9843
BGwood |  | 152.1774 | 213.0484 | 273.9193 | 334.7903 | 395.6613 | 461.1437 | 576.4296 | 691.7155 | 807.0014 | 922.2873
EE_R_Haja |  | 152.1774 | 213.0484 | 273.9193 | 334.7903 | 395.6613 | 461.1437 | 576.4296 | 691.7155 | 807.0014 | 922.2873
Engine-BG-Haja |  | 152.1774 | 213.0484 | 273.9193 | 334.7903 | 395.6613 | 461.1437 | 576.4296 | 691.7155 | 807.0014 | 922.2873